## Sheet1
CEDEN Column Sequence | 0 |  | 3 |  | 1 |  |  | 2 | 10 |  | 16 | 14 | 13 |  | 29 | 20 | 22 | 24 |  |  | 19 | 7 | 4 | 5 | 6 | 8 | 9 | 11 | 12 | 15 | 17 | 18 | 21 | 23 | 25 | 26 | 27 | 28 | 30
CEDEN Field Name |  |  | ProjectCode |  | StationCode |  |  | SampleDate | CollectionTime |  | PositionWaterColumn | CollectionDepth | CollectionDeviceName |  | CalibrationDate | AnalyteName | UnitName | Result |  |  | MethodName | SampleComments | EventCode | ProtocolCode | AgencyCode | LocationCode | GeometryShape | CollectionMethodCode | Replicate | UnitCollectionDepth | FieldCollectionComments | MatrixName | FractionName | FieldReplicate | ResQualCode | QACode | ComplianceCode | BatchVerificationCode | FieldResultComments
DQM Field Name | Sequencer | Utility 2 | Project ID | Team Name | Station ID | Trip ID | Station visit ID | Collection Date | Collection Time | Access from, or "Occupation method" | Position in Water Column (STORET Relative Depth) | Measurement Depth (m) | Measuring Device | Instrument ID | Calibration Date | Characteristic (Parameter) | Results Units | Measurement Result | Repeated Measurement Result | Bracket or Instrument Resolution | activity type | comment
|  | BLK305 | BAX-WQM | HF-Crew | BAX030 | T1 | V1 | 2018-03-21 | 8:54 | inflow | Surface |  | Enthalpy Analytical | NA | Unk | Copper | ug/L | 54 |  |  | LabMeasure | [17 empty] | depth 47cm
|  | BLK305 | BAX-WQM | HF-Crew | BAX030 | T1 | V1 | 2018-03-21 | 8:54 | inflow | Surface |  | Enthalpy Analytical | NA | Unk | Lead | ug/L | 150 |  |  | LabMeasure
|  | BLK305 | BAX-WQM | HF-Crew | BAX030 | T1 | V1 | 2018-03-21 | 8:54 | inflow | Surface |  | Enthalpy Analytical | NA | Unk | Mercury | ug/L | 0.43 |  |  | LabMeasure
|  | BLK305 | BAX-WQM | HF-Crew | BAX030 | T1 | V1 | 2018-03-21 | 8:54 | inflow | Surface |  | Enthalpy Analytical | NA | Unk | Nickel | ug/L | 74 |  |  | LabMeasure
|  | BLK305 | BAX-WQM | HF-Crew | BAX030 | T1 | V1 | 2018-03-21 | 8:54 | inflow | Surface |  | Enthalpy Analytical | NA | Unk | Zinc | ug/L | 230 |  |  | LabMeasure
|  | BLK305 | BAX-WQM | HF-Crew | BAX030 | T1 | V1 | 2018-03-21 | 8:54 | inflow | Surface |  | Enthalpy Analytical | NA | Unk | Diesel Fuel | ug/L | 250 | 150 |  | LabMeasure
|  | BLK305 | BAX-WQM | HF-Crew | BAX030 | T1 | V1 | 2018-03-21 | 8:54 | inflow | Surface |  | Enthalpy Analytical | NA | Unk | Motor Oil | ug/L | 1000 | 1400 |  | LabMeasure
|  | BLK306 | BAX-WQM | HF-Crew | BAX030 | T2 | V2 | 2019-02-08 | 1:41 | inflow | Surface |  | Enthalpy Analytical | NA | Unk | Copper | ug/L | 24 |  |  | LabMeasure | [17 empty] | depth 47cm
|  | BLK306 | BAX-WQM | HF-Crew | BAX030 | T2 | V2 | 2019-02-08 | 1:41 | inflow | Surface |  | Enthalpy Analytical | NA | Unk | Lead | ug/L | 11 |  |  | LabMeasure
|  | BLK306 | BAX-WQM | HF-Crew | BAX030 | T2 | V2 | 2019-02-08 | 1:41 | inflow | Surface |  | Enthalpy Analytical | NA | Unk | Nickel | ug/L | 24 |  |  | LabMeasure
|  | BLK306 | BAX-WQM | HF-Crew | BAX030 | T2 | V2 | 2019-02-08 | 1:41 | inflow | Surface |  | Enthalpy Analytical | NA | Unk | Diesel Fuel | ug/L | 710 | 890 |  | LabMeasure
|  | BLK306 | BAX-WQM | HF-Crew | BAX030 | T2 | V2 | 2019-02-08 | 1:41 | inflow | Surface |  | Enthalpy Analytical | NA | Unk | Motor Oil | ug/L | 1300 | 1900 |  | LabMeasure
|  | BLK307 | BAX-WQM | HF-Crew | BAX030 | T2 | V2 | 2019-02-08 | 2:45 | outflow | Surface |  | Enthalpy Analytical | NA | Unk | Copper | ug/L | 12 |  |  | LabMeasure | [17 empty] | depth 47cm
|  | BLK307 | BAX-WQM | HF-Crew | BAX030 | T2 | V2 | 2019-02-08 | 2:45 | outflow | Surface |  | Enthalpy Analytical | NA | Unk | Lead | ug/L | 1.5 |  |  | LabMeasure
|  | BLK307 | BAX-WQM | HF-Crew | BAX030 | T2 | V2 | 2019-02-08 | 2:45 | outflow | Surface |  | Enthalpy Analytical | NA | Unk | Nickel | ug/L | 7.9 |  |  | LabMeasure
|  | BLK307 | BAX-WQM | HF-Crew | BAX030 | T2 | V2 | 2019-02-08 | 2:45 | outflow | Surface |  | Enthalpy Analytical | NA | Unk | Diesel Fuel | ug/L | 110 | 130 |  | LabMeasure
|  | BLK307 | BAX-WQM | HF-Crew | BAX030 | T2 | V2 | 2019-02-08 | 2:45 | outflow | Surface |  | Enthalpy Analytical | NA | Unk | Motor Oil | ug/L | 0 | 0 |  | LabMeasure
Note on D4: LookUp List: ProjectLookUp
Note on F4: LookUp List: StationLookUp
Note on I4: Format: dd/mmm/yyyy Default Value: 01/Jan/1950
Note on J4: Format: hh:mm Default Value: 00:00
Note on L4: LookUp List: VariableCodesLookUp Default: Not Applicable
Note on N4: LookUp List: CollectionDeviceLookUp Default Value: Not Recorded
Note on P4: Format: dd/mmm/yyyy Default Value: 01/Jan/1950
Note on Q4: LookUp List: AnalyteLookUp
Note on R4: LookUp List: UnitLookUp
Note on S4: Result may be left blank as long as an appropriate ResQualCode is provided
Note on V4: LookUp List: MethodLookUp Default Value: FieldMeasure
Note on Y4: LookUp List: EventLookUp
Note on Z4: LookUp List: ProtocolLookUp Default Value: Not Recorded
Note on AA4: Lookup List: AgencyLookUp Default Value: Not Recorded
Note on AB4: LookUp List: LocationLookUp Default Value: Not Recorded
Note on AC4: LookUp List: VariableCodesLookUp
Note on AD4: LookUp List: CollectionMethodLookUp Default Value: Field
Note on AE4: Default Value: 1
Note on AF4: LookUp List: VariableCodesLookUp
Note on AH4: LookUp List: MatrixLookUp Default Value: Not Recorded
Note on AI4: LookUp List: FractionLookUp
Note on AJ4: Default value: 1
Note on AK4: LookUp List: ResQualLookUp Default Value: =
Note on AL4: LookUp List: QALookUp Default Value: NR. If unknown. Default Value: None. Indicates no special conditions.
Note on AM4: LookUp List: ComplianceLookUp Default Value: NR
Note on AN4: LookUp List: BatchVerificationLookUp Default Value: NR